## Slide 1: Pipeline Locating & Excavation Oversight
Locating • Marking • Verification • Monitoring • Observation
A disciplined approach to damage prevention

## Slide 2: Purpose
Establish a consistent and defensible process
Reduce risk and prevent damage
Protect workers, the public, and infrastructure

## Slide 3: Procedure Lifecycle
PLAN → LOCATE → MARK → VERIFY → MONITOR → OBSERVE → DOCUMENT
Each step builds certainty

## Slide 4: Planning & Pre-Locate
Obtain required notifications
Review maps and records
Define excavation limits

## Slide 5: Locating Underground Facilities
Use electronic locating equipment
Locate each facility individually
Inspect site hazards before work

## Slide 6: Critical Understanding
Locators detect electromagnetic fields
They do NOT physically locate pipes or cables
Multiple methods improve accuracy

## Slide 7: Marking Requirements
Use industry-recognized color codes
Ensure visibility and line-of-sight
Clearly show alignment and direction

## Slide 8: Verification
Hand expose or non-destructive excavation
No mechanical excavation in tolerance zone
Visual confirmation is required

## Slide 9: Verification Principles
Assume unknown facilities are energized
Confirm safe condition before intrusive work
Exposure confirms prediction

## Slide 10: Documentation
Complete locate or stakeout report
Review findings with excavator
Confirm drawings and signatures

## Slide 11: Excavation Monitoring
Risk-based oversight
Site visits and communication
Verify scope and progress

## Slide 12: Excavation Observation
Continuous on-site presence
Direct communication with excavation lead
Authority to stop work

## Slide 13: Life of the Locate
Marks are temporary
Request re-locate if unclear
Do not proceed with uncertainty

## Slide 14: Closeout
Confirm excavation complete
Finalize documentation
Close ticket responsibly

## Slide 15: Operating Principles
Competency over assumption
Verification over interpretation
Documentation over memory
Communication over isolation
Observation over reaction